## WW Point Repair Bid Form 2023
City Of Clearwater
2023 Sewer Point Repair and Improvements | [5 empty] | * The Bid Tab for Project No. 22-0006-UT was Revised on 6/14/2022 due to a Classification Error.
Please use this version.
Group A: Sanitary Sewer Trenchless Reconstruction
| All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal and disposal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns. |  |  |  |  | This Contract is divided into six Groups (Groups A-F). Contractors are permitted to Bid on individual OR multiple groups, assuming the prequalification requirements are met.
General
| 1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization. |  |  |  |  | Sanitary & Storm Sewer (Group A, Group B, Group D, Group E, Group F) Sanitary & Storm Sewer AND Water/Force Mains (Group C)
Item No. | Description | Units | Quantity | Unit Price | Total Price
1 | Mobilization/Demobilization including Traffic Control1 | LS/WO | 20 | 0 | 0 | Prequalification Amount: $1 Million (Group A, Group B, Group D, Group E, Group F) $2 Million (Group C)
Trenchless Pipe Reconstruction System – CIPP
2a | 6” Dia. Sanitary Sewer Mains 6.0 mm | LF | 500 | 0 | 0
2b | 8” Dia. Sanitary Sewer Mains 6.0 mm | LF | 20000 | 0 | 0
2c | 10” Dia. Sanitary Sewer Mains 7.5 mm | LF | 5000 | 0 | 0
2d | 12” Dia. Sanitary Sewer Mains 7.5 mm | LF | 1000 | 0 | 0
2e | 15” Dia. Sanitary Sewer Mains 9.0 mm | LF | 100 | 0 | 0
2f | 18” Dia. Sanitary Sewer Mains 9.0 mm | LF | 2000 | 0 | 0
2g | 20” Dia. Sanitary Sewer Mains 12.0 mm | LF | 100 | 0 | 0
2h | 24” Dia. Sanitary Sewer Mains 12.0 mm | LF | 3000 | 0 | 0
2i | 30” Dia. Sanitary Sewer Mains 16.0 mm | LF | 150 | 0 | 0
2j | 36" Dia. Sanitary Sewer Mains 18.5 mm | LF | 50 | 0 | 0
CIPP Sectional Repair
3 | 6” Dia. Sanitary Sewer Mains
3a | 0’-10’ | EA | 5 | 0 | 0
3b | 10.1’-20’ | EA | 2 | 0 | 0
3c | 20.1’-30’ | EA | 2 | 0 | 0
4 | 8” Dia. Sanitary Sewer Mains
4a | 0’-10’ | EA | 5 | 0 | 0
4b | 10.1’-20’ | EA | 2 | 0 | 0
4c | 20.1’-30’ | EA | 2 | 0 | 0
5 | 10” Dia. Sanitary Sewer Mains
5a | 0’-10’ | EA | 5 | 0 | 0
5b | 10.1’-20’ | EA | 2 | 0 | 0
5c | 20.1’-30’ | EA | 2 | 0 | 0
6 | 12” Dia. Sanitary Sewer Mains
6a | 0’-10’ | EA | 5 | 0 | 0
6b | 10.1’-20’ | EA | 2 | 0 | 0
6c | 20.1’-30’ | EA | 2 | 0 | 0
7 | 15” Dia. Sanitary Sewer Mains
7a | 0’-10’ | EA | 5 | 0 | 0
7b | 10.1’-20’ | EA | 2 | 0 | 0
7c | 20.1’-30’ | EA | 2 | 0 | 0
8 | 18” Dia. Sanitary Sewer Mains
8a | 0’-10’ | EA | 3 | 0 | 0
8b | 10.1’-20’ | EA | 1 | 0 | 0
8c | 20.1’-30’ | EA | 1 | 0 | 0
9 | 20” Dia. Sanitary Sewer Mains
9a | 0’-10’ | EA | 3 | 0 | 0
9b | 10.1’-20’ | EA | 1 | 0 | 0
9c | 20.1’-30’ | EA | 1 | 0 | 0
10 | 24” Dia. Sanitary Sewer Mains
10a | 0’-10’ | EA | 3 | 0 | 0
10b | 10.1’-20’ | EA | 1 | 0 | 0
10c | 20.1’-30’ | EA | 1 | 0 | 0
11 | 30” Dia. Sanitary Sewer Mains
11a | 0’-10’ | EA | 3 | 0 | 0
11b | 10.1’-20’ | EA | 1 | 0 | 0
11c | 20.1’-30’ | EA | 1 | 0 | 0
12 | 36” Dia. Sanitary Sewer Mains
12a | 0’-10’ | EA | 3 | 0 | 0
12b | 10.1’-20’ | EA | 1 | 0 | 0
12c | 20.1’-30’ | EA | 1 | 0 | 0
Ancillary Services
13 | Easement Access, additional
13a | ≤ 15” Diameter | LF | 250 | 0 | 0
13b | > 15” Diameter | LF | 500 | 0 | 0
14 | Service Leak Sealing with Pressure Grouting | EA | 50 | 0 | 0
15 | Open Cut Service Reconnection | EA | 250 | 0 | 0
16 | Heavy Cleaning (6 Passes of the Cleaning Head)
16a | 8”-10” Diameter | LF | 2500 | 0 | 0
16b | 12”-15” Diameter | LF | 1500 | 0 | 0
16c | 16”-24” Diameter | LF | 5000 | 0 | 0
17 | Root Removal
17a | 8”-10” Diameter | LF | 100 | 0 | 0
17b | 12”-15” Diameter | LF | 50 | 0 | 0
17c | 16”-24” Diameter | LF | 25 | 0 | 0
18 | Tuberculation Cleaning
18a | 8”-10” Diameter | LF | 250 | 0 | 0
18b | 12”-15” Diameter | LF | 250 | 0 | 0
18c | 16”-24” Diameter | LF | 750 | 0 | 0
19 | Bypass Pump setup with Piping
19a | 8”-12” Diameter | EA | 75 | 0 | 0
19b | 15”-18” Diameter | EA | 25 | 0 | 0
19c | 24” Diameter | EA | 10 | 0 | 0
Miscellaneous
20 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION A = |  |  |  |  | 0
B. Sewer Cleaning and Televising Inspection
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary proper removal and disposal. Contractor shall provide disposal receipts (i.e. dump tickets) as part of the work. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
General
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization.
Item No. | Description | Units | Quantity | Unit Price | Total Price
1a | Mobilization/Demobilization including Traffic 1 | LS/WO | 10 | 0 | 0
Sewer Line Cleaning
2a | Heavy Cleaning from Right of Way - 8”-10” Diameter | LF | 150000 | 0 | 0
2b | Heavy Cleaning from Right of Way - 12”-15” Diameter | LF | 25000 | 0 | 0
2c | Heavy Cleaning from Right of Way - 16”-24” Diameter | LF | 25000 | 0 | 0
2d | Heavy Cleaning from Right of Way - 30”-36” Diameter | LF | 50000 | 0 | 0
3a | Root Removal - 8”-10” Diameter | LF | 200 | 0 | 0
3b | Root Removal - 12”-15” Diameter | LF | 25 | 0 | 0
3c | Root Removal - 16”-24” Diameter | LF | 25 | 0 | 0
3d | Root Removal - 30”-36” Diameter | LF | 10 | 0 | 0
4a | Heavy Cleaning from Side and/or Rear Easements - 8”-10” Diameter | LF | 150000 | 0 | 0
4b | Heavy Cleaning from Side and/or Rear Easements - 12”-15” Diameter | LF | 25000 | 0 | 0
4c | Heavy Cleaning from Side and/or Rear Easements - 16”-24” Diameter | LF | 25000 | 0 | 0
4d | Heavy Cleaning from Side and/or Rear Easements - 30”-36” Diameter | LF | 50000 | 0 | 0
5a | Tuberculation Cleaning - 8”-10” Diameter | LF | 200 | 0 | 0
5b | Tuberculation Cleaning - 12”-15” Diameter | LF | 200 | 0 | 0
5c | Tuberculation Cleaning - 16”-24” Diameter | LF | 200 | 0 | 0
5d | Tuberculation Cleaning - 30”-36” Diameter | LF | 200 | 0 | 0
6 | Manhole Clean/Jet-vac | EA | 5000 | 0 | 0
CCTV pipe and manhole inspection with PACP/CUES Granite XP compatibility
7 | Mobilization/Demobilization including Traffic 1 | LS/WO | 5 | 0 | 0
8a | CCTV pipe inspection - includes light cleaning - 8”-10” Diameter | LF | 750000 | 0 | 0
8b | CCTV pipe inspection - includes light cleaning - 12”-15” Diameter | LF | 50000 | 0 | 0
8c | CCTV pipe inspection - includes light cleaning - 16”-24” Diameter | LF | 25000 | 0 | 0
8d | CCTV pipe inspection - includes light cleaning - 30”-36” Diameter | LF | 50000 | 0 | 0
9 | Manhole Inspection | EA | 100 | 0 | 0
10 | Smoke Testing | LF | 10000 | 0 | 0
11 | Dye Testing | LF | 5000 | 0 | 0
Miscellaneous
12 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION B = |  |  |  |  | 0
Group C: Wastewater Point Repair
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
General
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization and $5,000 for emergency mobilization. Emergency and non emergency mobilization are further defined in Section IV of the Contract Documents.
Item No. | Description | Units | Quantity | Unit Price | Total Price
1 | Emergency Mobilization/Demobilization & General Conditions1 (max $5,000) | EA | 30 | 0 | 0
2 | Non-Emergency Mobilization/Demobilization & General Conditions1 (max $4,000) | EA | 75 | 0 | 0
Bypass pump set up/demob. & maintenance
3a | 8”-12” Diameter | DAY | 30 | 0 | 0
3b | 15”-18” Diameter | DAY | 30 | 0 | 0
3c | 24” Diameter | WK | 8 | 0 | 0
3d | 30” Diameter | WK | 8 | 0 | 0
Maintenance of Traffic
2 (If not already included in line items 4b-4f)
4a | Flagman2 | HR | 200 | 0 | 0
4b | Multilane (FDOT Index No. 613) | EA/DAY | 30 | 0 | 0
4c | Multilane (FDOT Index No. 614) | EA/DAY | 30 | 0 | 0
4d | Multilane (FDOT Index No. 615) | EA/DAY | 20 | 0 | 0
4e | Multilane (FDOT Index No. 616) | EA/DAY | 20 | 0 | 0
4f | Multilane (FDOT Index No. 617) | EA/DAY | 20 | 0 | 0
4g | Arrow Board - 5' Minimum Horizontal Size2 | EA/DAY | 30 | 0 | 0
4h | Variable Message Board2 | EA/DAY | 30 | 0 | 0
4i | Concrete Barrier (FDOT Index No. 415)2 | EA/DAY | 60 | 0 | 0
4j | Low Profile Barrier (FDOT Index No. 412)2 | EA/DAY | 60 | 0 | 0
4k | Sign in Work Zone2 | EA/DAY | 100 | 0 | 0
4l | FDOT Cone2 | EA/DAY | 100 | 0 | 0
4m | FDOT Channelizing Drum2 | EA/DAY | 100 | 0 | 0
4n | Barricade, Type III with Warning Light2 | EA/DAY | 100 | 0 | 0
4o | Barricade, Type I or II with Warning Light2 | EA/DAY | 100 | 0 | 0
Labor hours
Labor hours and equipment bid items (5 and 6) shall only be used where not already included in a bid item.
5a | Forman regular time | HOUR | 2500 | 0 | 0
5b | Forman overtime | HOUR | 500 | 0 | 0
5c | Operator regular time | HOUR | 4000 | 0 | 0
5d | Operator overtime | HOUR | 500 | 0 | 0
5e | Truck Driver regular time | HOUR | 1500 | 0 | 0
5f | Truck Driver overtime | HOUR | 150 | 0 | 0
5g | Pipe Layer regular time | HOUR | 4000 | 0 | 0
5h | Pipe Layer overtime | HOUR | 400 | 0 | 0
5i | Laborer regular time | HOUR | 4000 | 0 | 0
5j | Laborer overtime | HOUR | 550 | 0 | 0
Equipment
6a | Foreman's pickup truck with hand tools | HOUR | 3000 | 0 | 0
6b | Job truck with tools | HOUR | 3500 | 0 | 0
6c | Tractor & Trailer (Transport) | HOUR | 200 | 0 | 0
6d | Track Hoe (to 100 HP) | HOUR | 1100 | 0 | 0
6e | Track Hoe (101 HP to 170 HP) | HOUR | 500 | 0 | 0
6f | Track Hoe (171 HP and up) | HOUR | 750 | 0 | 0
6g | Rubber Tired Backhoe | HOUR | 25 | 0 | 0
6h | Wheel Loader (to 150 HP) | HOUR | 2000 | 0 | 0
6i | Wheel Loader (151 HP and up) | HOUR | 250 | 0 | 0
6j | Track Type Tractors (to 100 HP) | HOUR | 150 | 0 | 0
6k | Track Type Tractors (101 HP and up) | HOUR | 25 | 0 | 0
6l | Dump Truck (Tandem Axle) | HOUR | 750 | 0 | 0
6m | Plate Tamp | HOUR | 250 | 0 | 0
6n | 3” Trash Pump | HOUR | 250 | 0 | 0
6o | 4” Double Diaphragm Pump | HOUR | 2000 | 0 | 0
6p | Air Compressor (125 CFM min.) | HOUR | 100 | 0 | 0
6q | 4” Jet Pump | DAY | 25 | 0 | 0
6r | Emergency Hauling up to 2500 gallons | HOUR | 25 | 0 | 0
6s | Emergency Hauling over 2500 gallons | HOUR | 25 |  | 0
Stormwater
7a | Adjust storm structures | EA | 10 | 0 | 0
7b | Underdrains | LF | 200 | 0 | 0
7c | Build Up type Structures | EA | 10 | 0 | 0
7d | Precast Type | EA | 10 | 0 | 0
7e | Gabions and Mattresses | CY | 10 | 0 | 0
Landscaping/Restoration
8a | Seeding | SF | 25000 | 0 | 0
8b | Sodding | SF | 75000 | 0 | 0
8c | Tree protection | EA | 250 | 0 | 0
8d | Tree Removal (<6" Trunk Diameter) | EA | 5 | 0 | 0
8e | Tree Removal (6"-12" Trunk Diameter) | EA | 3 | 0 | 0
8f | Tree Removal (13"-18" Trunk Diameter) | EA | 3 | 0 | 0
8g | Tree Removal (>18" Trunk Diameter) | EA | 3 | 0 | 0
Materials
9a | Full Width Milling (Up to 2") | SY | 5500 | 0 | 0
9b | Full Width Milling (2" to 4") | SY | 5500 | 0 | 0
9c | SP 12.5 Asphalt Concrete Resurfacing | TN | 500 | 0 | 0
9d | SP 9.5 Asphalt Concrete Resurfacing | TN | 500 | 0 | 0
9e | Pavement Marking - Crosswalks (Lane) | LF | 500 | 0 | 0
9f | Pavement Marking - Stop Bars (Lane) | EA | 200 | 0 | 0
9g | Pavement Marking - School Crossing/RR | EA | 50 | 0 | 0
9h | Pavement Marking - Turn, Straight, Combo Arrows | EA | 50 | 0 | 0
9i | Pavement Marking - Dashed (White, Yellow or Double Yellow) | LF | 500 | 0 | 0
9j | Pavement Marking - Solid White | LF | 250 | 0 | 0
9k | Pavement Marking - Solid Double Yellow | LF | 250 | 0 | 0
9l | Pavement Marking - Solid Yellow | LF | 250 | 0 | 0
9m | Temporary Pavement Marking - Turn, Straight, Combo Arrows | EA | 250 | 0 | 0
9n | Preparation, Installation and Maintenance of Project Signs | LS | 25 | 0 | 0
9o | Temporary Pavement Marking - Dashed (White, Yellow or Double Yellow) | LF | 250 | 0 | 0
9p | Temporary Pavement Marking - Solid White | LF | 250 | 0 | 0
9q | Temporary Pavement Marking - Solid Double Yellow | LF | 250 | 0 | 0
9r | Temporary Pavement Marking - Solid Yellow | LF | 250 | 0 | 0
9s | Remove and replace type I Curb (City Index 101 - Sheet 1 of 2) | LF | 500 | 0 | 0
9t | Remove and replace valley gutter curb (City index 101 - Sheet 202) | LF | 500 | 0 | 0
9u | Construct 5 foot wide ADA Ramp (City Index 109 - Sheet 2 of 3) | EA | 500 | 0 | 0
9v | Remove and Replace Concrete Sidewalk, (4" Min thickness) | SF | 500 | 0 | 0
9w | Remove and Replace Concrete Sidewalk, (6" Min thickness) | SF | 500 | 0 | 0
9x | Remove and Replace Concrete Driveway | SY | 250 | 0 | 0
9y | 3000 psi Concrete | CY | 50 | 0 | 0
9z | Off Site Selected Fill | CY | 1500 | 0 | 0
9aa | Limerock Base Material | TON | 1000 | 0 | 0
9bb | # 57 Washed Stone | TON | 750 | 0 | 0
9cc | Crushed Concrete Base Material | TON | 750 | 0 | 0
9dd | Stabilized Subgrade | TON | 750 | 0 | 0
9ee | Removal of Unsuitable Soil | TON | 50 | 0 | 0
9ff | Rip Rap | TON | 25 | 0 | 0
9gg | Flowable Fill | CY | 25 | 0 | 0
9hh | Brick Pavers | SY | 100 | 0 | 0
9ii | Brick Paver Level Sand | CY | 10 | 0 | 0
Well Point Dewatering
10 | Well Point Dewatering | LF/DAY | 2000 | 0 | 0
Manholes and Gravity Main Appurtenances
11a | Built up Type Manhole-4' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 250 | 0 | 0
11b | Built up Type Manhole-5' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 25 | 0 | 0
11c | Built up Type Manhole-6' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 25 | 0 | 0
11d | Precast Type Manhole-4' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 250 | 0 | 0
11e | Precast Type Manhole-5' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 25 | 0 | 0
11f | Precast Type Manhole-6' diameter (Inclusive of lining, drops, ring, cover, etc.) | VF | 25 | 0 | 0
11g | Manhole Drop | EA | 10 | 0 | 0
11h | HDPE Adjustment Ring | EA | 5 | 0 | 0
11i | City’s standard manhole ring | EA | 30 | 0 | 0
11j | City’s standard manhole cover | EA | 30 | 0 | 0
11k | Abatement Inserts (dish/pan) | EA | 10 | 0 | 0
11l | Furnish and install Cleanout | EA | 500 | 0 | 0
11m | Furnish and install Two-way Cleanouts | EA | 10 | 0 | 0
11n | Bench/invert Repair - Replacement | EA | 70 | 0 | 0
11o | Injection grouting as required to stop infiltration and inflow | GAL | 1000 | 0 | 0
11p | Manhole clean/jet-vac | EA | 40 | 0 | 0
11q | Remove existing liner for 4’ diameter manhole | VF | 750 | 0 | 0
11r | Remove existing liner for 5’ diameter manhole | VF | 750 | 0 | 0
11s | Remove existing liner for 6’ diameter manhole | VF | 750 | 0 | 0
11t | Reset/Adjust Frame and Cover | EA | 25 | 0 | 0
11u | Replace Frame and Cover | EA | 250 | 0 | 0
11v | Seal manhole frame to corbel connection | EA | 250 | 0 | 0
11w | Rear easement access | EA | 30 | 0 | 0
Manhole Surfacing (Epoxy) - Manhole Coating Product: Raven 405
12a | Liner system for 4’ diameter manhole-125 MILS | VF | 1500 | 0 | 0
12b | Liner System for 4' diameter manhole-250 MILS | VF | 1500 | 0 | 0
12c | Liner system for 5’ diameter manhole-125 MILS | VF | 1500 | 0 | 0
12d | Liner System for 5' diameter manhole-250 MILS | VF | 1500 | 0 | 0
12e | Liner system for 6’ diameter manhole-125 MILS | VF | 1500 | 0 | 0
12f | Liner System for 6' diameter manhole-250 MILS | VF | 1500 | 0 | 0
Manhole Surfacing (Cementitious) - Manhole Coating Product: Strong Seal MS-2C Coating System
13a | Liner system for 4’ diameter manhole - 1/2 inch | VF | 500 | 0 | 0
13b | Liner system for 5’ diameter manhole-1/2 inch | VF | 300 | 0 | 0
13c | Liner system for 6’ diameter manhole- 1/2 inch | VF | 200 | 0 | 0
Manhole Surfacing (Polyurethane) - Manhole Coating Product: Spraywall
14a | Liner system for 4’ diameter manhole-125 MILS | VF | 1500 | 0 | 0
14b | Liner System for 4' diameter manhole-250 MILS | VF | 1500 | 0 | 0
14c | Liner system for 5’diameter manhole-125 MILS | VF | 1500 | 0 | 0
14d | Liner System for 5' diameter manhole-250 MILS | VF | 1500 | 0 | 0
14e | Liner system for 6’diameter manhole-125 MILS | VF | 1500 | 0 | 0
14f | Liner System for 6' diameter manhole-250 MILS | VF | 1500 | 0 | 0
Lateral Replacement and Lateral CIPP Furnish and replace existing service lateral from sewer main to new cleanout location (6"-8" Dia.)
15a | Up to 5' deep | LF | 800 | 0 | 0
15c | More than 5' and up to 10' deep | LF | 500 | 0 | 0
15c | More than 10' and up to 15' deep | LF | 300 | 0 | 0
15d | More than 15' and up to 20' deep | LF | 200 | 0 | 0
Trenchless (CIPP) reconstruction of sewer lateral, CCTV and cleaning
16a | 4” Dia. Sanitary Sewer Lat. 4.0 mm | LF | 500 | 0 | 0
16b | 6” Dia. Sanitary Sewer Lat. 6.0 mm | LF | 300 | 0 | 0
16c | 8” Dia. Sanitary Sewer Lat. 6.0 mm | LF | 50 | 0 | 0
Grout Fill and Abandon Main
17a | 2"-6" | LF | 7500 | 0 | 0
17b | 8"-12" | LF | 7500 | 0 | 0
17c | 16"-24" | LF | 5000 | 0 | 0
17d | >30" | LF | 5000 | 0 | 0
Remove Abandoned Main (if not already removing for replacing)
18a | 2"-6" | LF | 5000 | 0 | 0
18b | 8"-12" | LF | 5000 | 0 | 0
18c | 16"-24" | LF | 2000 | 0 | 0
18d | >30" | LF | 500 | 0 | 0
Gravity Mains
PVC Gravity Mains (Inclusive of all Labor, Material, and Associated Restraints)
19a | 4” diameter (0' to 5') | LF | 5 | 0 | 0
19b | 4” diameter (5.1' to 10') | LF | 5 | 0 | 0
19c | 4” diameter (10.1' to 15') | LF | 5 | 0 | 0
19d | 4” diameter (15.1' to 20') | LF | 5 | 0 | 0
19e | 6” diameter (0' to 5') | LF | 25 | 0 | 0
19f | 6” diameter (5.1' to 10') | LF | 25 | 0 | 0
19g | 6” diameter (10.1' to 15') | LF | 5 | 0 | 0
19h | 6” diameter (15.1' to 20') | LF | 5 | 0 | 0
19i | 8” diameter (0' to 5') | LF | 1000 | 0 | 0
19j | 8” diameter (5.1' to 10') | LF | 1000 | 0 | 0
19k | 8” diameter (10.1' to 15') | LF | 500 | 0 | 0
19l | 8” diameter (15.1' to 20') | LF | 500 | 0 | 0
19m | 10” diameter (0' to 5') | LF | 1000 | 0 | 0
19n | 10” diameter (5.1' to 10') | LF | 1000 | 0 | 0
19o | 10” diameter (10.1' to 15') | LF | 500 | 0 | 0
19p | 10” diameter (15.1' to 20') | LF | 500 | 0 | 0
19q | 12” diameter (0' to 5') | LF | 500 | 0 | 0
19r | 12” diameter (5.1' to 10') | LF | 500 | 0 | 0
19s | 12” diameter (10.1' to 15') | LF | 250 | 0 | 0
19t | 12” diameter (15.1' to 20') | LF | 100 | 0 | 0
19u | 14”/15" diameter (0' to 5') | LF | 5 | 0 | 0
19v | 14”/15" diameter (5.1' to 10') | LF | 5 | 0 | 0
19w | 14”/15" diameter (10.1' to 15') | LF | 5 | 0 | 0
19x | 14”/15" diameter (15.1' to 20') | LF | 5 | 0 | 0
19y | 16”/18" diameter (0' to 5') | LF | 5 | 0 | 0
19z | 16”/18" diameter (5.1' to 10') | LF | 5 | 0 | 0
19aa | 16”/18" diameter (10.1' to 15') | LF | 5 | 0 | 0
19bb | 16”/18" diameter (15.1' to 20') | LF | 5 | 0 | 0
19cc | 20”/21" diameter (0' to 5') | LF | 5 | 0 | 0
19dd | 20”/21" diameter (5.1' to 10') | LF | 5 | 0 | 0
19ee | 20”/21" diameter (10.1' to 15') | LF | 5 | 0 | 0
19ff | 20”/21" diameter (15.1' to 20') | LF | 5 | 0 | 0
19gg | 24” diameter (0' to 5') | LF | 5 | 0 | 0
19hh | 24” diameter (5.1' to 10') | LF | 5 | 0 | 0
19ii | 24” diameter (10.1' to 15') | LF | 5 | 0 | 0
19jj | 24” diameter (15.1' to 20') | LF | 5 | 0 | 0
19kk | 30” diameter (0' to 5') | LF | 5 | 0 | 0
19ll | 30” diameter (5.1' to 10') | LF | 5 | 0 | 0
19mm | 30” diameter (10.1' to 15') | LF | 5 | 0 | 0
19nn | 30” diameter (15.1' to 20') | LF | 5 | 0 | 0
19oo | 36” diameter (0' to 5') | LF | 5 | 0 | 0
19pp | 36” diameter (5.1' to 10') | LF | 5 | 0 | 0
19qq | 36” diameter (10.1' to 15') | LF | 5 | 0 | 0
19rr | 36” diameter (15.1' to 20') | LF | 5 | 0 | 0
HDPE (Inclusive of all Labor, Material, and Associated Restraints)
20a | 4” diameter (0' to 5') | LF | 5 | 0 | 0
20b | 4” diameter (5.1' to 10') | LF | 5 | 0 | 0
20c | 4” diameter (10.1' to 15') | LF | 5 | 0 | 0
20d | 4” diameter (15.1' to 20') | LF | 5 | 0 | 0
20e | 6” diameter (0' to 5') | LF | 25 | 0 | 0
20f | 6” diameter (5.1' to 10') | LF | 25 | 0 | 0
20g | 6” diameter (10.1' to 15') | LF | 5 | 0 | 0
20h | 6” diameter (15.1' to 20') | LF | 5 | 0 | 0
20i | 8” diameter (0' to 5') | LF | 50 | 0 | 0
20j | 8” diameter (5.1' to 10') | LF | 50 | 0 | 0
20k | 8” diameter (10.1' to 15') | LF | 10 | 0 | 0
20l | 8” diameter (15.1' to 20') | LF | 10 | 0 | 0
20m | 10” diameter (0' to 5') | LF | 100 | 0 | 0
20n | 10” diameter (5.1' to 10') | LF | 100 | 0 | 0
20o | 10” diameter (10.1' to 15') | LF | 5 | 0 | 0
20p | 10” diameter (15.1' to 20') | LF | 5 | 0 | 0
20q | 12” diameter (0' to 5') | LF | 500 | 0 | 0
20r | 12” diameter (5.1' to 10') | LF | 500 | 0 | 0
20s | 12” diameter (10.1' to 15') | LF | 250 | 0 | 0
20t | 12” diameter (15.1' to 20') | LF | 100 | 0 | 0
20u | 14”/15" diameter (0' to 5') | LF | 5 | 0 | 0
20v | 14”/15" diameter (5.1' to 10') | LF | 5 | 0 | 0
20w | 14”/15" diameter (10.1' to 15') | LF | 5 | 0 | 0
20x | 14”/15" diameter (15.1' to 20') | LF | 5 | 0 | 0
20y | 16”/18" diameter (0' to 5') | LF | 5 | 0 | 0
20z | 16”/18" diameter (5.1' to 10') | LF | 5 | 0 | 0
20aa | 16”/18" diameter (10.1' to 15') | LF | 5 | 0 | 0
20bb | 16”/18" diameter (15.1' to 20') | LF | 5 | 0 | 0
20cc | 20”/21" diameter (0' to 5') | LF | 5 | 0 | 0
20dd | 20”/21" diameter (5.1' to 10') | LF | 5 | 0 | 0
20ee | 20”/21" diameter (10.1' to 15') | LF | 5 | 0 | 0
20ff | 20”/21" diameter (15.1' to 20') | LF | 5 | 0 | 0
20gg | 24” diameter (0' to 5') | LF | 5 | 0 | 0
20hh | 24” diameter (5.1' to 10') | LF | 5 | 0 | 0
20ii | 24” diameter (10.1' to 15') | LF | 5 | 0 | 0
20jj | 24” diameter (15.1' to 20') | LF | 5 | 0 | 0
20kk | 30” diameter (0' to 5') | LF | 5 | 0 | 0
20ll | 30” diameter (5.1' to 10') | LF | 5 | 0 | 0
20mm | 30” diameter (10.1' to 15') | LF | 5 | 0 | 0
20nn | 30” diameter (15.1' to 20') | LF | 5 | 0 | 0
20oo | 36” diameter (0' to 5') | LF | 5 | 0 | 0
20pp | 36” diameter (5.1' to 10') | LF | 5 | 0 | 0
20qq | 36” diameter (10.1' to 15') | LF | 5 | 0 | 0
20rr | 36” diameter (15.1' to 20') | LF | 5 | 0 | 0
Force Main
PVC Force Main (Inclusive of all Labor, Material, and Associated Restraints)
21a | 4” diameter (0' to 5') | LF | 25 | 0 | 0
21b | 4” diameter (5.1' to 10') | LF | 5 | 0 | 0
21c | 4” diameter (10.1' to 15') | LF | 5 | 0 | 0
21d | 4” diameter (15.1' to 20') | LF | 5 | 0 | 0
21e | 6” diameter (0' to 5') | LF | 25 | 0 | 0
21f | 6” diameter (5.1' to 10') | LF | 25 | 0 | 0
21g | 6” diameter (10.1' to 15') | LF | 5 | 0 | 0
21h | 6” diameter (15.1' to 20') | LF | 5 | 0 | 0
21i | 8” diameter (0' to 5') | LF | 50 | 0 | 0
21j | 8” diameter (5.1' to 10') | LF | 50 | 0 | 0
21k | 8” diameter (10.1' to 15') | LF | 10 | 0 | 0
21l | 8” diameter (15.1' to 20') | LF | 10 | 0 | 0
21m | 10” diameter (0' to 5') | LF | 100 | 0 | 0
21n | 10” diameter (5.1' to 10') | LF | 100 | 0 | 0
21o | 10” diameter (10.1' to 15') | LF | 5 | 0 | 0
21p | 10” diameter (15.1' to 20') | LF | 5 | 0 | 0
21q | 12” diameter (0' to 5') | LF | 500 | 0 | 0
21r | 12” diameter (5.1' to 10') | LF | 500 | 0 | 0
21s | 12” diameter (10.1' to 15') | LF | 250 | 0 | 0
21t | 12” diameter (15.1' to 20') | LF | 100 | 0 | 0
21u | 14”/15" diameter (0' to 5') | LF | 5 | 0 | 0
21v | 14”/15" diameter (5.1' to 10') | LF | 5 | 0 | 0
21w | 14”/15" diameter (10.1' to 15') | LF | 5 | 0 | 0
21x | 14”/15" diameter (15.1' to 20') | LF | 5 | 0 | 0
21y | 16”/18" diameter (0' to 5') | LF | 5 | 0 | 0
21z | 16”/18" diameter (5.1' to 10') | LF | 5 | 0 | 0
21aa | 16”/18" diameter (10.1' to 15') | LF | 5 | 0 | 0
21bb | 16”/18" diameter (15.1' to 20') | LF | 5 | 0 | 0
21cc | 20”/21" diameter (0' to 5') | LF | 5 | 0 | 0
21dd | 20”/21" diameter (5.1' to 10') | LF | 5 | 0 | 0
21ee | 20”/21" diameter (10.1' to 15') | LF | 5 | 0 | 0
21ff | 20”/21" diameter (15.1' to 20') | LF | 5 | 0 | 0
21gg | 24” diameter (0' to 5') | LF | 5 | 0 | 0
21hh | 24” diameter (5.1' to 10') | LF | 5 | 0 | 0
21ii | 24” diameter (10.1' to 15') | LF | 5 | 0 | 0
21jj | 24” diameter (15.1' to 20') | LF | 5 | 0 | 0
21kk | 30” diameter (0' to 5') | LF | 5 | 0 | 0
21ll | 30” diameter (5.1' to 10') | LF | 5 | 0 | 0
21mm | 30” diameter (10.1' to 15') | LF | 5 | 0 | 0
21nn | 30” diameter (15.1' to 20') | LF | 5 | 0 | 0
21oo | 36” diameter (0' to 5') | LF | 5 | 0 | 0
21pp | 36” diameter (5.1' to 10') | LF | 5 | 0 | 0
21qq | 36” diameter (10.1' to 15') | LF | 5 | 0 | 0
21rr | 36” diameter (15.1' to 20') | LF | 5 | 0 | 0
DUCTILE IRON (Inclusive of all Labor, Material, and Associated Restraints)
22a | 4” diameter (0' to 5') | LF | 5 | 0 | 0
22b | 4” diameter (5.1' to 10') | LF | 5 | 0 | 0
22c | 4” diameter (10.1' to 15') | LF | 5 | 0 | 0
22d | 4” diameter (15.1' to 20') | LF | 5 | 0 | 0
22e | 6” diameter (0' to 5') | LF | 25 | 0 | 0
22f | 6” diameter (5.1' to 10') | LF | 25 | 0 | 0
22g | 6” diameter (10.1' to 15') | LF | 5 | 0 | 0
22h | 6” diameter (15.1' to 20') | LF | 5 | 0 | 0
22i | 8” diameter (0' to 5') | LF | 50 | 0 | 0
22j | 8” diameter (5.1' to 10') | LF | 50 | 0 | 0
22k | 8” diameter (10.1' to 15') | LF | 10 | 0 | 0
22l | 8” diameter (15.1' to 20') | LF | 10 | 0 | 0
22m | 10” diameter (0' to 5') | LF | 100 | 0 | 0
22n | 10” diameter (5.1' to 10') | LF | 100 | 0 | 0
22o | 10” diameter (10.1' to 15') | LF | 5 | 0 | 0
22p | 10” diameter (15.1' to 20') | LF | 5 | 0 | 0
22q | 12” diameter (0' to 5') | LF | 500 | 0 | 0
22r | 12” diameter (5.1' to 10') | LF | 500 | 0 | 0
22s | 12” diameter (10.1' to 15') | LF | 250 | 0 | 0
22t | 12” diameter (15.1' to 20') | LF | 100 | 0 | 0
22u | 14”/15" diameter (0' to 5') | LF | 5 | 0 | 0
22v | 14”/15" diameter (5.1' to 10') | LF | 5 | 0 | 0
22w | 14”/15" diameter (10.1' to 15') | LF | 5 | 0 | 0
22x | 14”/15" diameter (15.1' to 20') | LF | 5 | 0 | 0
22y | 16”/18" diameter (0' to 5') | LF | 5 | 0 | 0
22z | 16”/18" diameter (5.1' to 10') | LF | 5 | 0 | 0
22aa | 16”/18" diameter (10.1' to 15') | LF | 5 | 0 | 0
22bb | 16”/18" diameter (15.1' to 20') | LF | 5 | 0 | 0
22cc | 20”/21" diameter (0' to 5') | LF | 5 | 0 | 0
22dd | 20”/21" diameter (5.1' to 10') | LF | 5 | 0 | 0
22ee | 20”/21" diameter (10.1' to 15') | LF | 5 | 0 | 0
22ff | 20”/21" diameter (15.1' to 20') | LF | 5 | 0 | 0
22gg | 24” diameter (0' to 5') | LF | 5 | 0 | 0
22hh | 24” diameter (5.1' to 10') | LF | 5 | 0 | 0
22ii | 24” diameter (10.1' to 15') | LF | 5 | 0 | 0
22jj | 24” diameter (15.1' to 20') | LF | 5 | 0 | 0
22kk | 30” diameter (0' to 5') | LF | 5 | 0 | 0
22ll | 30” diameter (5.1' to 10') | LF | 5 | 0 | 0
22mm | 30” diameter (10.1' to 15') | LF | 5 | 0 | 0
22nn | 30” diameter (15.1' to 20') | LF | 5 | 0 | 0
22oo | 36” diameter (0' to 5') | LF | 5 | 0 | 0
22pp | 36” diameter (5.1' to 10') | LF | 5 | 0 | 0
22qq | 36” diameter (10.1' to 15') | LF | 5 | 0 | 0
22rr | 36” diameter (15.1' to 20') | LF | 5 | 0 | 0
HDPE (Inclusive of all Labor, Material, and Associated Restraints)
23a | 4” diameter (0' to 5') | LF | 5 | 0 | 0
23b | 4” diameter (5.1' to 10') | LF | 5 | 0 | 0
23c | 4” diameter (10.1' to 15') | LF | 5 | 0 | 0
23d | 4” diameter (15.1' to 20') | LF | 5 | 0 | 0
23e | 6” diameter (0' to 5') | LF | 25 | 0 | 0
23f | 6” diameter (5.1' to 10') | LF | 25 | 0 | 0
23g | 6” diameter (10.1' to 15') | LF | 5 | 0 | 0
23h | 6” diameter (15.1' to 20') | LF | 5 | 0 | 0
23i | 8” diameter (0' to 5') | LF | 50 | 0 | 0
23j | 8” diameter (5.1' to 10') | LF | 50 | 0 | 0
23k | 8” diameter (10.1' to 15') | LF | 10 | 0 | 0
23l | 8” diameter (15.1' to 20') | LF | 10 | 0 | 0
23m | 10” diameter (0' to 5') | LF | 100 | 0 | 0
23n | 10” diameter (5.1' to 10') | LF | 100 | 0 | 0
23o | 10” diameter (10.1' to 15') | LF | 5 | 0 | 0
23p | 10” diameter (15.1' to 20') | LF | 5 | 0 | 0
23q | 12” diameter (0' to 5') | LF | 500 | 0 | 0
23r | 12” diameter (5.1' to 10') | LF | 500 | 0 | 0
23s | 12” diameter (10.1' to 15') | LF | 250 | 0 | 0
23t | 12” diameter (15.1' to 20') | LF | 100 | 0 | 0
23u | 14”/15" diameter (0' to 5') | LF | 5 | 0 | 0
23v | 14”/15" diameter (5.1' to 10') | LF | 5 | 0 | 0
23w | 14”/15" diameter (10.1' to 15') | LF | 5 | 0 | 0
23x | 14”/15" diameter (15.1' to 20') | LF | 5 | 0 | 0
23y | 16”/18" diameter (0' to 5') | LF | 5 | 0 | 0
23z | 16”/18" diameter (5.1' to 10') | LF | 5 | 0 | 0
23aa | 16”/18" diameter (10.1' to 15') | LF | 5 | 0 | 0
23bb | 16”/18" diameter (15.1' to 20') | LF | 5 | 0 | 0
23cc | 20”/21" diameter (0' to 5') | LF | 5 | 0 | 0
23dd | 20”/21" diameter (5.1' to 10') | LF | 5 | 0 | 0
23ee | 20”/21" diameter (10.1' to 15') | LF | 5 | 0 | 0
23ff | 20”/21" diameter (15.1' to 20') | LF | 5 | 0 | 0
23gg | 24” diameter (0' to 5') | LF | 5 | 0 | 0
23hh | 24” diameter (5.1' to 10') | LF | 5 | 0 | 0
23ii | 24” diameter (10.1' to 15') | LF | 5 | 0 | 0
23jj | 24” diameter (15.1' to 20') | LF | 5 | 0 | 0
23kk | 30” diameter (0' to 5') | LF | 5 | 0 | 0
23ll | 30” diameter (5.1' to 10') | LF | 5 | 0 | 0
23mm | 30” diameter (10.1' to 15') | LF | 5 | 0 | 0
23nn | 30” diameter (15.1' to 20') | LF | 5 | 0 | 0
23oo | 36” diameter (0' to 5') | LF | 5 | 0 | 0
23pp | 36” diameter (5.1' to 10') | LF | 5 | 0 | 0
23qq | 36” diameter (10.1' to 15') | LF | 5 | 0 | 0
23rr | 36” diameter (15.1' to 20') | LF | 5 | 0 | 0
Force Main Pipe Bursting (Includes connection to existing upstream and downstream force mains)
24a | Furnish and Install 4" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24b | Furnish and Install 6" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24c | Furnish and Install 8" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24d | Furnish and Install 10" HDPE Pipe Bursting, DR 11 | 500 | LF | 0 | 0
24e | Furnish and Install 12" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24f | Furnish and Install 16" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24g | Furnish and Install 20" HDPE Pipe Bursting, DR 11 | 1000 | LF | 0 | 0
24h | Furnish and Install 24" HDPE Pipe Bursting, DR 11 | 500 | LF | 0 | 0
24i | Furnish and Install 30" HDPE Pipe Bursting, DR 11 | 500 | LF | 0 | 0
Gravity Main Pipe Bursting (Includes connection to existing upstream and downstream gravity main or manhole)
25a | Furnish and Install 8" HDPE Pipe Bursting, to replace 6" or 8" gravity main | 2000 | LF | 0 | 0
25b | Furnish and Install 10" HDPE Sanitary Sewer Mains | 500 | LF | 0 | 0
25c | Furnish and Install 12" HDPE Sanitary Sewer Mains | 1000 | LF | 0 | 0
25d | Furnish and Install 15" HDPE Sanitary Sewer Mains | 100 | LF | 0 | 0
25e | Furnish and Install 18" HDPE Sanitary Sewer Mains | 1000 | LF | 0 | 0
25f | Furnish and Install 20" HDPE Sanitary Sewer Mains | 100 | LF | 0 | 0
25g | Furnish and Install 24" HDPE Sanitary Sewer Mains | 1000 | LF | 0 | 0
25h | Furnish and Install 30" HDPE Sanitary Sewer Mains | 250 | LF | 0 | 0
25i | Furnish and Install 36" HDPE Sanitary Sewer Mains | 200 | LF | 0 | 0
Ductile Iron Fittings (Tees, Crosses, 90, 45, 22.5, 11.25, Sleeve, and inclusive all necessary restraints) (Protecto 401 Lined)
26a | 4” diameter | TON | 3 | 0 | 0
26b | 6" diameter | TON | 3 | 0 | 0
26c | 8" diameter | TON | 3 | 0 | 0
26d | 10" diameter | TON | 3 | 0 | 0
26e | 12" diameter | TON | 3 | 0 | 0
26f | 14" diameter | TON | 3 | 0 | 0
26g | 16" diameter | TON | 3 | 0 | 0
26h | 18" diameter | TON | 3 | 0 | 0
26i | 20" diameter | TON | 3 | 0 | 0
26j | 24" diameter | TON | 3 | 0 | 0
26k | 30" diameter | TON | 3 | 0 | 0
26l | 36" diameter | TON | 3 | 0 | 0
Water main replacement (Incidental to Sewer Repair)
PVC (Inclusive of all Labor, Material, and Associated Restraints)
27a | 4” diameter | LF | 50 | 0 | 0
27b | 6” diameter | LF | 50 | 0 | 0
27c | 8” diameter | LF | 50 | 0 | 0
27d | 10” diameter | LF | 50 | 0 | 0
27e | 12” diameter | LF | 50 | 0 | 0
27f | 14” diameter | LF | 10 | 0 | 0
27g | 18” diameter | LF | 10 | 0 | 0
27h | 20” diameter | LF | 10 | 0 | 0
27i | 24” diameter | LF | 10 | 0 | 0
27j | 30” diameter | LF | 10 | 0 | 0
27k | 36” diameter | LF | 10 | 0 | 0
DUCTILE IRON (Inclusive of all Labor, Material, and Associated Restraints)
28a | 4” diameter | LF | 10 | 0 | 0
28b | 6” diameter | LF | 25 | 0 | 0
28c | 8” diameter | LF | 50 | 0 | 0
28d | 10” diameter | LF | 10 | 0 | 0
28e | 12” diameter | LF | 10 | 0 | 0
28f | 14” diameter | LF | 5 | 0 | 0
28g | 18” diameter | LF | 5 | 0 | 0
28h | 20” diameter | LF | 5 | 0 | 0
28i | 24” diameter | LF | 5 | 0 | 0
28j | 30” diameter | LF | 5 | 0 | 0
28k | 36” diameter | LF | 5 | 0 | 0
HDPE (Inclusive of all Labor, Material, and Associated Restraints)
29a | 4” diameter | LF | 10 | 0 | 0
29b | 6” diameter | LF | 25 | 0 | 0
29c | 8” diameter | LF | 50 | 0 | 0
29d | 10” diameter | LF | 10 | 0 | 0
29e | 12” diameter | LF | 10 | 0 | 0
29f | 14” diameter | LF | 5 | 0 | 0
29g | 18” diameter | LF | 5 | 0 | 0
29h | 20” diameter | LF | 5 | 0 | 0
29i | 24” diameter | LF | 5 | 0 | 0
29j | 30” diameter | LF | 5 | 0 | 0
29k | 36” diameter | LF | 5 | 0 | 0
Ductile Iron Fittings (Tees, Crosses, 90, 45, 22.5, 11.25, Sleeve, and inclusive all necessary restraints) (Cement Lined)
30a | 4” diameter | TON | 1 | 0 | 0
30b | 6" diameter | TON | 1 | 0 | 0
30c | 8" diameter | TON | 1 | 0 | 0
30d | 10" diameter | TON | 1 | 0 | 0
30e | 12" diameter | TON | 1 | 0 | 0
30f | 14" diameter | TON | 1 | 0 | 0
30g | 16" diameter | TON | 1 | 0 | 0
30h | 18" diameter | TON | 1 | 0 | 0
30i | 20" diameter | TON | 1 | 0 | 0
30j | 24" diameter | TON | 1 | 0 | 0
30k | 30" diameter | TON | 1 | 0 | 0
30l | 36" diameter | TON | 1 | 0 | 0
Reinforced Concrete Pipe (Inclusive of all Labor, Material, and Associated Restraints)
31a | 12" ID | LF | 5 | 0 | 0
31b | 15" ID | LF | 5 | 0 | 0
31c | 18" ID | LF | 5 | 0 | 0
31d | 21" ID | LF | 5 | 0 | 0
31e | 24" ID | LF | 5 | 0 | 0
31f | 27" ID | LF | 5 | 0 | 0
31g | 30" ID | LF | 5 | 0 | 0
31h | 36" ID | LF | 5 | 0 | 0
Appurtenances
Plug Valves with Valve Box (Wastewater Only)
32a | 4” | EA | 200 | 0 | 0
32b | 6” | EA | 250 | 0 | 0
32c | 8” | EA | 500 | 0 | 0
32d | 10” | EA | 100 | 0 | 0
32e | 12” | EA | 50 | 0 | 0
32f | 14” | EA | 10 | 0 | 0
32g | 18” | EA | 5 | 0 | 0
32h | 20” | EA | 5 | 0 | 0
Gate Valves with Valve Box
33a | 4” | EA | 200 | 0 | 0
33b | 6” | EA | 250 | 0 | 0
33c | 8” | EA | 500 | 0 | 0
33d | 10” | EA | 100 | 0 | 0
33e | 12” | EA | 50 | 0 | 0
33f | 14” | EA | 10 | 0 | 0
33g | 18” | EA | 5 | 0 | 0
33h | 20” | EA | 5 | 0 | 0
33i | 24" | EA | 5 | 0 | 0
33j | Valve Box Only | EA | 50 | 0 | 0
Tapping Sleeves and Tapping Valves
34a | 4” | EA | 25 | 0 | 0
34b | 6” | EA | 50 | 0 | 0
34c | 8” | EA | 50 | 0 | 0
34d | 10” | EA | 10 | 0 | 0
34e | 12” | EA | 25 | 0 | 0
34f | 14” | EA | 5 | 0 | 0
34g | 18” | EA | 5 | 0 | 0
34h | 20” | EA | 5 | 0 | 0
Linestops
35a | 4” | EA | 10 | 0 | 0
35b | 6” | EA | 10 | 0 | 0
35c | 8” | EA | 10 | 0 | 0
35d | 10” | EA | 10 | 0 | 0
35e | 12” | EA | 10 | 0 | 0
35f | 14” | EA | 5 | 0 | 0
35g | 18” | EA | 5 | 0 | 0
35h | 20” | EA | 5 | 0 | 0
Repair Clamp
36a | 4” | EA | 15 | 0 | 0
36b | 6” | EA | 15 | 0 | 0
36c | 8” | EA | 15 | 0 | 0
36d | 10” | EA | 15 | 0 | 0
36e | 12” | EA | 15 | 0 | 0
36f | 14” | EA | 5 | 0 | 0
36g | 18” | EA | 5 | 0 | 0
36h | 20” | EA | 5 | 0 | 0
36i | 24" | EA | 5 | 0 | 0
36j | 30" | EA | 5 | 0 | 0
36k | 36" | EA | 5 | 0 | 0
Fire Hydrant
37a | Fire Hydrant Assembly With Valve (5-1/4") | EA | 20 | 0 | 0
37b | Fire Hydrant Assembly Without Valve (5-1/4") | EA | 10 | 0 | 0
Service Saddles (Water and RCW Only)
38a | 4” | EA | 100 | 0 | 0
38b | 6” | EA | 150 | 0 | 0
38c | 8” | EA | 200 | 0 | 0
38d | 10” | EA | 50 | 0 | 0
38e | 12” | EA | 25 | 0 | 0
38f | 14” | EA | 5 | 0 | 0
38g | 18” | EA | 5 | 0 | 0
38h | 20” | EA | 5 | 0 | 0
Trenchless Pipeline Installation (Wastewater and Water/Reclaimed Water Piping Incidental to Sewer Repair)
Directional Drill
39a | Furnish and Install 4" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39b | Furnish and Install 6" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39c | Furnish and Install 8" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39d | Furnish and Install 10" HDPE by directional drill, DR 11 with Transitional Ends | LF | 500 | 0 | 0
39e | Furnish and Install 12" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39f | Furnish and Install 16" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39g | Furnish and Install 20" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39h | Furnish and Install 24" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39i | Furnish and Install 30" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39j | Furnish and Install 36" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 | 0 | 0
39k | Furnish and Install 4" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39l | Furnish and Install 6" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39m | Furnish and Install 8" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39n | Furnish and Install 10" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 500 | 0 | 0
39o | Furnish and Install 12" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39p | Furnish and Install 16" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39q | Furnish and Install 20" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39r | Furnish and Install 24" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39s | Furnish and Install 30" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
39t | Furnish and Install 36" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 | 0 | 0
Jack and Bore
40a | Furnish and Install 4" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 200 | 0 | 0
40b | Furnish and Install 6" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 200 | 0 | 0
40c | Furnish and Install 12" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 200 | 0 | 0
40d | Furnish and Install 14" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 100 | 0 | 0
40e | Furnish and Install 16" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 500 | 0 | 0
40f | Furnish and Install 20" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 500 | 0 | 0
40g | Furnish and Install 24" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 250 | 0 | 0
40h | Furnish and Install 30" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 250 | 0 | 0
40i | Furnish and Install 36" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 250 | 0 | 0
40j | Furnish and Install 42" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 250 | 0 | 0
Miscellaneous
41 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION C = |  |  |  |  | 0
D. Sanitary Cleanouts and Laterals
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
General
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization.
Item No. | Description | Units | Quantity | Unit Price | Total Price
1 | Mobilization/Demobilization including Traffic 1 | LS/WO | 10 | 0 | 0
Cleanout and Sewer Lateral
2 | Furnish and install Cleanout | EA | 500 | 0 | 0
3 | Furnish and replace existing service lateral from sewer main to new cleanout location (6"-8" Dia.)
3a | Up to 5' deep | LF | 800 | 0 | 0
3b | More than 5' and up to 10' deep | LF | 500 | 0 | 0
3c | More than 10' and up to 15' deep | LF | 300 | 0 | 0
3d | More than 15' and up to 20' deep | LF | 200 | 0 | 0
Sewer Lateral CIPP
4 | Trenchless (CIPP) reconstruction of sewer lateral, CCTV and cleaning
5a | 4” Dia. Sanitary Sewer Lat. 4.0 mm | LF | 500 | 0 | 0
5b | 6” Dia. Sanitary Sewer Lat. 6.0 mm | LF | 300 | 0 | 0
5c | 8” Dia. Sanitary Sewer Lat. 6.0 mm | LF | 50 | 0 | 0
Miscellaneous
6 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION D = |  |  |  |  | 0
E Manhole Surfacing – Polyurethane
Coating Product: Spraywall
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
General
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization.
Item No. | Description | Units | Quantity | Unit Price | Total Price
1 | Mobilization/Demobilization including Traffic 1 | LS/WO | 3 | 0 | 0
2a | Liner system for 4’ diameter manhole-125 MILS | VF | 1500 | 0 | 0
2b | Liner System for 4' diameter manhole-250 MILS | VF | 1500 | 0 | 0
2c | Liner system for 5’diameter manhole-125 MILS | VF | 1500 | 0 | 0
2d | Liner System for 5' diameter manhole-250 MILS | VF | 1500 | 0 | 0
2e | Liner system for 6’diameter manhole-125 MILS | VF | 1500 | 0 | 0
2f | Liner System for 6' diameter manhole-250 MILS | VF | 1500 | 0 | 0
3 | Bench/invert Repair - Replacement | EA | 70 | 0 | 0
4 | Injection grouting as required to stop infiltration and inflow | GAL | 1000 | 0 | 0
5 | Manhole clean/jet-vac | EA | 40 | 0 | 0
6a | Remove existing liner for 4’ diameter manhole | VF | 150 | 0 | 0
6b | Remove existing liner for 5’ diameter manhole | VF | 150 | 0 | 0
6c | Remove existing liner for 6’ diameter manhole | VF | 150 | 0 | 0
7 | Reset/Adjust Frame and Cover | EA | 25 | 0 | 0
8 | Replace Frame and Cover | EA | 150 | 0 | 0
9 | Seal manhole frame to corbel connection | EA | 150 | 0 | 0
10 | Rear easement access | EA | 30 | 0 | 0
Miscellaneous
11 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION E = |  |  |  |  | 0
F. Smoke and Dye Testing
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
Item No. | Description | Units | Quantity | Unit Price | Total Price
1 | Smoke Testing of Sewer | LF | 25000 | 0 | 0
2 | Dye Tracing of Sewer | EA | 20 | 0 | 0
3 | Dye Flooding of Sewer | EA | 5 | 0 | 0
4 | Replace Cleanout Cap | EA | 25 | 0 | 0
5 | Replace top 2' of Cleanout (Including Female Adapter and Plug) | EA | 25 | 0 | 0
Miscellaneous
6 | Miscellaneous Charges (10% maximum allowed markup) |  |  | 10% | 0
TOTAL SECTION F = |  |  |  |  | 0